Clinical services capability framework

Service Assessment

| # Private facility: |  |
| --- | --- |
| # Assessment performed by |  |
| # Date of assessment: |  |
| # CSCF service: | Medical Imaging Services |
| # CSCF service level: | Level 2 |

# Purpose

This document is designed to help us assess your facility against the minimum services, workforce, risk management and support services requirements outlined in the CSCF modules to make sure you are able to offer a safe and compliant clinical service.

| # CSCF Requirements | # Compliance C - Compliant NC - Non-compliant N/A – Not applicable | # Evidence of compliance with CSCF criteria Provide a brief description and/or list evidence on how you comply with the requirements |
| --- | --- | --- |
| Service description: |  |  |
| provides a low-risk ambulatory care and inpatient service. |  | Please attach admission policy/criteria |
| predominantly delivered by x-ray operators supported by sole radiographer. |  |  |
| may be a designated room on-site with a fixed x-ray unit and computed radiography. |  |  |
| depending on range of services provided at the facility (e.g. day hospital), a mobile image intensifier may be the only modality available. |  |  |
| access to ultrasound for non-complex conditions or an outreach service may be available. |  |  |
| Service requirements: |  |  |
| full range of images not restricted when a radiographer is on duty. |  |  |
| access to point of care ultrasound. |  |  |
| mobile image intensifier may be available to provide fluoroscopy assistance for minor procedures; where the facility/service provides mobile fluoroscopy services, a radiographer licenced for fluoroscopy must be in attendance during this procedure. |  |  |
| services performing fluoroscopy develop and implement a documented quality assurance program that, as a minimum, includes reviewing screening times and dosages at least monthly, and conducting a department-based image review program. |  |  |

| Workforce requirements: |  |  |
| --- | --- | --- |
| Medical |  |  |
| access to registered medical practitioner, with appropriate credentials in administration of diagnostic ultrasound, for consultation where ultrasound provided in areas classified as rural and remote locations (as recognised by Medicare Australia). |  |  |
| Allied Health |  |  |
| - radiographers: - registered as medical imaging technologists with Australian Health Practitioner Regulation Agency - holding a current licence issued under the Radiation Safety Act 1999 with an authority to use diagnostic x-ray equipment, endorsed for the modalities being operated - available and contactable (e.g. by telephone) to provide advice to x-ray operators. |  |  |
| Other |  |  |
| - x-ray operators shall be appointed in rural and remote facilities where sole radiographer service needs support or where no radiographer service exists to ensure community access to limited x-ray service. |  |  |
| - ongoing support and supervision of x-ray operators provided by nominated radiographic advisor. |  |  |
| - Annual competency assessment by endorsed diagnostic radiographer approved by Radiation Health prior to x-ray operator’s licence renewal. |  |  |
| - X-ray operators shall have access to appropriate training and support as documented in local radiation safety and protection plan. |  |  |
| - X-ray operators shall hold a use licence as prescribed in Radiation Safety Act 1999. |  |  |
| - Facility managers and radiation safety officers shall ensure all authorised persons are aware of, and comply with licence restrictions imposed on x-ray operators at their facility. |  |  |
| - Access to service engineers with qualifications and experience relevant to model and make of equipment in use by service. |  |  |
| Specific Risk Considerations: |  |  |
| nil. |  |  |
| Support services: |  |  |
| ##### On-site: nil |  |  |
| Access to: nil |  |  |