Clinical services capability framework

Service Assessment

| # Private facility: |  |
| --- | --- |
| # Assessment performed by: |  |
| # Date of assessment: |  |
| # CSCF service: | Pathology Services |
| # CSCF service level: | Level 6 |

# Purpose

This document is designed to help us assess your facility against the minimum services, workforce, risk management and support services requirements outlined in the CSCF modules to make sure you are able to offer a safe and compliant clinical service.

| # CSCF Requirements | # Compliance C - Compliant NC - Non-compliant N/A – Not applicable | # Evidence of compliance with CSCF criteria Provide a brief description and/or list evidence on how you comply with the requirements |
| --- | --- | --- |
| Service description: |  |  |
| - documented processes with an accredited public or private laboratory for referral and transfer of specimens to ensure safe, ongoing management of complex tests. |  |  |
| - the requirement to meet the National Pathology Accreditation Advisory Council (NPAAC) Requirements for the Packaging and Transport of Patient Specimens and Associated Material. |  |  |
| - includes superspecialty services and provides highly complex pathology services such as clinical investigations, transplantation services and blood banking. |  |  |
| - services provided by on-site NATA / RCPA accredited. |  |  |
| - on-site collection and processing capabilities available, as well as laboratory and medical staff. |  |  |
| - some or all Level 6 services may be provided by Level 5 laboratories, also accessible to Level 3, 4 and 5 pathology laboratories by referral of samples where relevant to patient care. |  |  |
| Service requirements: |  |  |
| blood product storage and cross-matching capabilities, fine needle aspiration and frozen section services provided with following additions: - access to specialised pathology services such as microbiological virology investigations and advice - cytogenetics service, with flow cytometry / cytochemistry, chromosome analysis and immunophenotyping carried out within 18 days - cell culture facilities and cryopreservation - same-day therapeutic drug level results - comprehensive facilities for molecular as well as serological techniques of tissue for typing and matching. |  |  |
| - where applicable to haematological transplantation services: - access to accredited laboratory services with appropriate quality controls in collection, processing and storage of bone marrow and peripheral blood stem cells - cryopreservation for autologous transplantation - procedures in place to ensure clonogenic capacity and sterility of stem cell preparations by specific clinical scientists. |  |  |
| - services from NATA / RCPA accredited category GX or GY laboratory with: - on-site collection and processing capabilities - laboratory and medical staff - blood product storage and cross-matching capabilities - fine needle aspiration - frozen sections services. |  |  |
| - pathologists present at laboratory during business hours and accessible 24/7, including weekends and holidays. |  |  |
| - laboratory staff present 24 hours. |  |  |
| - routine microbiology services (including culture of blood, urine, stool) undertaken and samples referred as per laboratory protocols. |  |  |
| - access to comprehensive suite of anatomical pathology, cytopathology, chemical pathology, haematology (including coagulation and manual differential full blood count and blood banking), immunopathology and microbiology general and specialist services and transfusion service 24 hours. |  |  |
| - routine anatomical pathology available within 96 hours. |  |  |
| Workforce requirements: |  |  |
| - laboratories staffed in accordance with relevant NPAAC standards |  |  |
| - supervisory roles for each of the laboratories defined as per laboratory categories |  |  |
| Specific Risk Considerations: |  |  |
| ##### nil |  |  |